## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | FRONT ENTRANCE |  |  | -400 | 0 | 400 |  | #DIV/0! | #DIV/0!
AC-2 | STOCK ROOM |  |  | -430 | 0 | 430 |  | #DIV/0! | #DIV/0!
AC-3 | PHARMACY |  |  | -100 | 0 | 100 |  | #DIV/0! | #DIV/0!
AHU-1 | MAIN STORE | 5740 |  | 5740 | 0 |  |  | 0% | #DIV/0!
EF-1 | DELI HOOD | [10 empty] | 2400
EF-2 | RACK OVEN | [10 empty] | 800
EF-3 | RESTROOMS | [12 empty] | 200
EF-4 | PHARMACY RESTROOM | [12 empty] | 90
EF-5 | BREAK ROOM | [12 empty] | 600
EF-6 | RESTROOMS | [12 empty] | 750
EF-7 | MEZZ RESTROOM | [12 empty] | 500
EF-8 | MEAT/SEAFOOD | [10 empty] | 1650
EF-9 | ELECTRICAL ROOM
EF-10 | MECH ROOM
EF-11 | MECH ROOM
TOTALS |  | 5740 | 0 | 4810 | 0 | 930 | 0 |  |  | 0 | 0 | 4850 | 0 | 2140 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 930 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 6990 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -6060 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0