## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | DINING | 5250 |  | 3750 | 0 | 1500 |  | 28.57% | #DIV/0!
RTU-2 | BOH | 2100 |  | 1600 | 0 | 500 |  | 23.81% | #DIV/0!
RTU-3 | KITCHEN | 4200 |  | 2665 | 0 | 1535 |  | 36.55% | #DIV/0!
KEF-1 | GRILL HOOD | [10 empty] | 1994
KEF-2 | FRYER HOOD | [10 empty] | 1091
EF-1 | RESTROOMS | [12 empty] | 300
TOTALS |  | 11550 | 0 | 8015 | 0 | 3535 | 0 |  |  | 0 | 0 | 3085 | 0 | 300 | 0
[16 empty] | TRUE | FALSE | FALSE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1 | TRUE | FALSE | FALSE
TOTAL OA |  | 3535 | 0 |  | FRONT
TOTAL EXHAUST |  | 3385 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | 1 | FALSE
NET AIRFLOW |  | 150 | 0 |  | REAR
AVERAGE
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0