## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
DOAS-1 | SALES | 5050 |  | 0 | 0 | 5050 |  | 100% | #DIV/0!
DOAS-2 | SALES | 5050 |  | 0 | 0 | 5050 |  | 100% | #DIV/0!
RTU-1 | SALES | 4650 |  | 4650 | 0 | 0 |  | 0% | #DIV/0!
RTU-2 | SALES | 4500 |  | 4500 | 0 | 0 |  | 0% | #DIV/0!
RTU-3 | SALES | 4045 |  | 4045 | 0 | 0 |  | 0% | #DIV/0!
RTU-4 | SALES | 4310 |  | 4310 | 0 | 0 |  | 0% | #DIV/0!
RTU-5 | SALES | 4545 |  | 4545 | 0 | 0 |  | 0% | #DIV/0!
RTU-6 | SALES | 4125 |  | 4125 | 0 | 0 |  | 0% | #DIV/0!
RTU-7 | SALES | 4435 |  | 4435 | 0 | 0 |  | 0% | #DIV/0!
RTU-8 | SALES | 4010 |  | 4010 | 0 | 0 |  | 0% | #DIV/0!
RTU-9 | SALES | 3850 |  | 3850 | 0 | 0 |  | 0% | #DIV/0!
RTU-10 | PHARM | 2270 |  | 1770 | 0 | 500 |  | 22.03% | #DIV/0!
RTU-11 | DELI | 1690 |  | 1531 | 0 | 159 |  | 9.408% | #DIV/0!
RTU-12 | BAKERY | 1590 |  | 1510 | 0 | 80 |  | 5.031% | #DIV/0!
RTU-13 | BACKROOM | 1750 |  | 1570 | 0 | 180 |  | 10.29% | #DIV/0!
RTU-14 | BBACKROOM | 1895 |  | 1611 | 0 | 284 |  | 14.99% | #DIV/0!
RTU-15 | DOCK | 2935 |  | 2257 | 0 | 678 |  | 23.1% | #DIV/0!
RTU-16 | OFFICES | 2155 |  | 1631 | 0 | 524 |  | 24.32% | #DIV/0!
RTU-17 | PICKUP | 2495 |  | 2048 | 0 | 447 |  | 17.92% | #DIV/0!
RTU-18 | VESTIBLE | 2425 |  | 2278 | 0 | 147 |  | 6.062% | #DIV/0!
RTU-19 | VESTIBLE | 2430 |  | 2282 | 0 | 148 |  | 6.091% | #DIV/0!
EF-9 | BAKERY OVEN | [10 empty] | 600
EF-10 | BAKERY OVEN | [10 empty] | 600
EF-4 | DELI HOOD | [10 empty] | 2400
EF-1 | CUSTOMER | [12 empty] | 800
EF-2 | TLC | [12 empty] | 200
EF-3 | EMPLOYEE RRS | [12 empty] | 500
EF-5 | ELECTRICAL | [12 empty] | 400
EF-6 | ELECTRICAL | [12 empty] | 400
EF-7 | SEAFOOD | [12 empty] | 700
EF-8 | CLEANING WATER | [12 empty] | 200
TOTALS |  | 70205 | 0 | 56958 | 0 | 13247 | 0 |  |  | 0 | 0 | 3600 | 0 | 3200 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 13247 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 6800 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 6447 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0