## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | DINING | 4000 | 4114 | 2720 | 4114 | 900 | 0 | 22.5% | 0%
RTU-2 | DINING | 4000 | 4096 | 2720 | 3143 | 900 | 953 | 22.5% | 23.27%
RTU-3 | KITCHEN | 3000 | 2453 | 2100 | 2453 | 2375 | 0 | 79.17% | 0%
MUA-1 | [9 empty] | 2024 | 2008
KEF-1 | [11 empty] | 899 | 886
KEF-2 | [11 empty] | 1162 | 1093
KEF-3 | [11 empty] | 1162 | 1198
EF-1 | RR | [12 empty] | 150 | 108 | EF-1 | RR |  |  | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150 | EF-1 | RR | 150
EF-2 | RR | [12 empty] | 150 | 0 | EF-2 | RR |  |  | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150 | EF-2 | RR | 150
TOTALS |  | 11000 | 10663 | 7540 | 9710 | 4175 | 953 |  |  | 2024 | 2008 | 3223 | 3177 | 300 | 108
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS | [5 empty] | FALSE | FALSE | TRUE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 6199 | 2961 |  | FRONT |  | 0.0036 | [9 empty] | TRUE | TRUE | TRUE
TOTAL EXHAUST |  | 3523 | 3285 |  | SIDE |  | -0.0043 |  |  |  | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | 1
NET AIRFLOW |  | 2676 | -324 |  | REAR |  | -0.098 | [9 empty] | FALSE
[5 empty] | AVERAGE |  | -0.0329 |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | 0
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0