## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 3250 |  | 2850 | 0 | 400 |  | 12.31% | #DIV/0!
RTU-2 | SALES/OFFICE | 2450 |  | 2050 | 0 | 400 |  | 16.33% | #DIV/0!
RTU-3 | MIDDLE SALES | 2000 |  | 1600 | 0 | 400 |  | 20% | #DIV/0!
RTU-4 | HEALTH/BEAUTY SALES | 3000 |  | 2600 | 0 | 400 |  | 13.33% | #DIV/0!
RTU-5 | PHARMACY | 2000 |  | 1580 | 0 | 420 |  | 21% | #DIV/0!
RTU-6 | STOCK | 1600 |  | 1300 | 0 | 300 |  | 18.75% | #DIV/0!
EH-1 | ENTRY | 1800 |  | 1800 | 0 |  |  | 0% | #DIV/0!
EF-1 | OFFICE | [12 empty] | 300
EF-2 | EMPLOYEE RM | [12 empty] | 300
EF-3 | MEN'S RR | [12 empty] | 250
EF-4 | WOMEN'S RR | [12 empty] | 250
EF-5 | 1 HR PHOTO | [12 empty] | 900 |  | TRUE | FALSE | FALSE
TOTALS |  | 16100 | 0 | 13780 | 0 | 2320 | 0 |  |  | 0 | 0 | 0 | 0 | 2000 | 0 | TRUE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | 0
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 2320 | 0 |  | FRONT
TOTAL EXHAUST |  | 2000 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #REF!
NET AIRFLOW |  | 320 | 0 |  | REAR
[5 empty] | AVERAGE | [5 empty] | DESIGN PRESSURIZATION IS >10% I(OA - EXH) / EXH > 10% |  |  |  | 1
[11 empty] | ACTUAL PRESSURIZATION IS >10% I(OA - EXH) / EXH > 10% |  |  |  | 0
NOTES:
DESIGN NET PRESSURIZATION CALCULATION
16%