## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 6300 |  | 5355 | 0 | 945 |  | 15% | #DIV/0!
RTU-2 | SALES | 5250 |  | 4462 | 0 | 788 |  | 15.01% | #DIV/0!
RTU-3 | SALES | 1260 |  | 1071 | 0 | 189 |  | 15% | #DIV/0!
RTU-4 | PHARMACY | 1680 |  | 1680 | 0 | 0 |  | 0% | #DIV/0!
RTU-5 | STOCKROOM | 1260 |  | 1071 | 0 | 189 |  | 15% | #DIV/0!
EH-1 |  | 2000
EF-1 | MENS RR | [12 empty] | 200
EF-2 | WOMENS RR | [12 empty] | 200
EF-3 | BREAKROOM | [12 empty] | 300
EF-4 | OFFICE | [12 empty] | 300
TOTALS |  | 17750 | 0 | 13639 | 0 | 2111 | 0 |  |  | 0 | 0 | 0 | 0 | 1000 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 2111 | 0 |  | FRONT | [10 empty] | TRUE | FALSE | FALSE
TOTAL EXHAUST |  | 1000 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | 1
NET AIRFLOW |  | 1111 | 0 |  | REAR | [10 empty] | TRUE
[5 empty] | AVERAGE | [5 empty] | DESIGN PRESSURIZATION IS >10% I(OA - EXH) / EXH > 10% |  |  |  | 1
0
[11 empty] | ACTUAL PRESSURIZATION IS >10% I(OA - EXH) / EXH > 10% |  |  |  | 0
NOTES:
DESIGN NET PRESSURIZATION CALCULATION
111.1%