## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 10000 |  | 5000 | 0 | 5000 |  | 50% | #DIV/0!
RTU-2 | SALES | 10000 |  | 8200 | 0 | 1800 |  | 18% | #DIV/0!
RTU-3 | SALES | 10000 |  | 8200 | 0 | 1800 |  | 18% | #DIV/0!
RTU-4 | VEST | 1600 |  | 1250 | 0 | 350 |  | 21.88% | #DIV/0!
RTU-5 | PRODUCE | 6000 |  | 5000 | 0 | 1000 |  | 16.67% | #DIV/0!
RTU-6 | PHARMACY | 3000 |  | 2500 | 0 | 500 |  | 16.67% | #DIV/0!
RTU-7 | DELI | 3000 |  | 2500 | 0 | 500 |  | 16.67% | #DIV/0!
RTU-8 | BAKERY | 4000 |  | 3200 | 0 | 800 |  | 20% | #DIV/0!
RTU-9 | BREAK AREA | 1600 |  | 1250 | 0 | 350 |  | 21.88% | #DIV/0!
MUA-1 | PACIFIC KITCHEN | [8 empty] | 2400
MUA-2 | PREPARED FOODS | [8 empty] | 3645
KEF-1
KEF-2
KEF-3
KEF-4
KEF-5 | PACIFIC KITCHEN
KEF-6 | PREPARED FOODS ISLAND GRILLS
KEH-7 | POPCORN
EF-1 | PREPARED FOODS | [12 empty] | 4000
EF-2
EF-3 | BAKERY PREP | [12 empty] | 950
EF-4 | SEAFOODS | [12 empty] | 1050
EF-5 | PIZZA OVEN | [12 empty] | 600
EF-6
EF-7
EF-8
EF-9 | BATHROOM | [12 empty] | 525
EF-10 | JANITORS CLOSET | [12 empty] | 75
EF-11
EF-12
EF-13 | BAKERY | [12 empty] | 700 |  | TRUE | FALSE | FALSE
EF-14 | BAKERY PREP | [12 empty] | 525
EF-15 | SMOKER | [12 empty] | 1380 |  | #DIV/0! | #DIV/0! | FALSE
EF-16
TOTALS |  | 49200 | 0 | 37100 | 0 | 12100 | 0 |  |  | 6045 | 0 | 0 | 0 | 9805 | 0 | #DIV/0!
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 18145 | 0 |  | FRONT
TOTAL EXHAUST |  | 9805 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 8340 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0