## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | LOBBY | 2100 |  | 1425 | 0 | 675 |  | 32.14% | #DIV/0!
RTU-2 | BACK OF HOUSE | 2100 |  | 1425 | 0 | 675 |  | 32.14% | #DIV/0!
RTU-3 | TREATMENT | 2000 |  | 1500 | 0 | 500 |  | 25% | #DIV/0!
EF-1 | PUBLIC RR 112 | [12 empty] | 100
EF-2 | STAFF RR 115 | [12 empty] | 100
EF-3 | STAFF RR 135 | [12 empty] | 100
EF-4 | DOG WARD, ISO, CAT WARD | [12 empty] | 650
EF-5 | IT | [12 empty] | 100
EF-6 | CUSTODIAL 133 | [12 empty] | 50
EF-7 | CUSTODIAL 111 | [12 empty] | 50
TOTALS |  | 6200 | 0 | 4350 | 0 | 1850 | 0 |  |  | 0 | 0 | 0 | 0 | 1150 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 1850 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 1150 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 700 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0