## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | STORE | 7500 |  | 5200 | 0 | 2300 |  | 30.67% | #DIV/0!
RTU-2 | STORE | 7500 |  | 5200 | 0 | 2300 |  | 30.67% | #DIV/0!
RTU-3 | STORE | 4500 |  | 3425 | 0 | 1075 |  | 23.89% | #DIV/0!
RTU-4 | STORE | 7500 |  | 5200 | 0 | 2300 |  | 30.67% | #DIV/0!
RTU-5 | CHECKOUT | 7500 |  | 5200 | 0 | 2300 |  | 30.67% | #DIV/0!
RTU-6 | ENTRANCE | 4900 |  | 4000 | 0 | 900 |  | 18.37% | #DIV/0!
RTU-7 | PRODUCE | 4500 |  | 3738 | 0 | 762 |  | 16.93% | #DIV/0!
RTU-8 | CAFÉ | 10900 |  | 10422 | 0 | 478 |  | 4.385% | #DIV/0!
RTU-9 | BAKERY | 2500 |  | 2339 | 0 | 161 |  | 6.44% | #DIV/0!
RTU-10 | POWER AISLE | 6000 |  | 5368 | 0 | 632 |  | 10.53% | #DIV/0!
RTU-11 | PIZZA | 4925 |  | 4625 | 0 | 300 |  | 6.091% | #DIV/0!
RTU-12 | POWER AISLE | 5780 |  | 5281 | 0 | 499 |  | 8.633% | #DIV/0!
MAU-1 | KITCHEN HD | [8 empty] | 3150
CF-1 | SALES | [12 empty] | 975
CF-2 | SALES | [12 empty] | 770
CF-3 | CAFÉ | [12 empty] | 75000
EF-1 | SUSHI | [10 empty] | 675
EF-2 | PIZZA | [10 empty] | 730
EF-3 | DELI | [10 empty] | 2475
EF-4 | DELI-BOH | [10 empty] | 4050
EF-5 | BAKERY | [10 empty] | 900
EF-6 | MEAT | [10 empty] | 525
EF-7 | MEAT | [10 empty] | 2700
EF-8
EF-9 | RESTROOM | [12 empty] | 1050
EF-10 | CUSTOMER SERVICE | [12 empty] | 300
EF-11 | IT | [12 empty] | 600
EF-12 | COMPRESSORE | [12 empty] | 20250
EF-13 | REAR ELECTRICAL ROOM | [12 empty] | 1100
EF-14 | FRONT ELECTRICAL ROOM | [12 empty] | 1100
EF-15 | BAXTER OVEN | [10 empty] | 900
EF-16 | BAXTER OVEN | [10 empty] | 900
TOTALS |  | 74005 | 0 | 59998 | 0 | 14007 | 0 |  |  | 3150 | 0 | 13855 | 0 | 101145 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 17157 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 115000 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -97843 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 1080 |  | -1080
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 832 |  | -832
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 701 |  | -701
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 390 |  | -390