## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-1 | KTICHEN | 1325 | 0 | 1175 | 0 | 150 | 0 | 11.32% | #DIV/0!
AHU-2 | DINING | 2200 | 0 | 1575 | 0 | 625 | 0 | 28.41% | #DIV/0!
SF-1 | OA BSMT AHUs | [8 empty] | 100 | 184
EF-1 | BSMT RR/WAREWASH | [12 empty] | 915 | 918
EF-2 | MAIN LVL RR | [12 empty] | 50 | 53
TOTALS |  | 3525 | 0 | 2750 | 0 | 775 | 0 |  |  | 100 | 184 | 0 | 0 | 965 | 971
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | TRUE | TRUE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 875 | 184 |  | FRONT |  | NA | [8 empty] | FALSE | FALSE | TRUE
TOTAL EXHAUST |  | 965 | 971 |  | SIDE |  | NA |  |  |  | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | 0
NET AIRFLOW |  | -90 | -787 |  | REAR |  | NA | [8 empty] | TRUE
[5 empty] | AVERAGE |  | 0.006 |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | 1
NOTES:
Building pressure was not meassured due to AHU-1 and AHU-2 not being operational during TAB.
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0