## issues
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| EQUIPMENT OF ISSUE | EQUIPMENT OF ISSUE
| ISSUE DESCRIPTION | EQUIPMENT OF ISSUE
| EQUIPMENT OF ISSUE | EQUIPMENT OF ISSUE
| EQUIPMENT OF ISSUE | EQUIPMENT OF ISSUE
| EQUIPMENT OF ISSUE | EQUIPMENT OF ISSUE
| EQUIPMENT OF ISSUE | EQUIPMENT OF ISSUE

## hvac pg 1
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| MAU | MAU
| DIRTY OUTSIDE AIR FILTERS | CLEAN OUTSIDE AIR FILTERS
| RTU-1 (DINING) | RTU-1 (DINING)
| DIRTY OUTSIDE AIR FILTERS | CLEAN OUTSIDE AIR FILTERS
| RTU-2 (DINING) | RTU-2 (DINING)
| DIRTY OUTSIDE AIR FILTERS | CLEAN OUTSIDE AIR FILTERS

## hcav pg 2
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| RTU-3 (KITCHEN) | RTU-3 (KITCHEN)
| DIRTY OUTSIDE AIR FILTERS | CLEAN OUTSIDE AIR FILTERS
| RTU-1 (DINING) | RTU-1 (DINING)
| DIRTY EVAPORATOR FILTERS | CLEAN EVAPORATOR FILTERS
| RTU-2 (DINING) | RTU-2 (DINING)
| DIRTY EVAPORATOR FILTERS | CLEAN EVAPORATOR FILTERS

## hvac pg 3
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| RTU-3 (KITCHEN) | RTU-3 (KITCHEN)
| DIRTY EVAPORATOR FILTERS | DIRTY EVAPORATOR FILTERS
| RTU-1 (DINING) | RTU-1 (DINING)
| DIRTY EVAPORATOR | CLEAN EVAPORATOR
| RTU-2 (DINING) | RTU-2 (DINING)
| DIRTY EVAPORATOR | CLEAN EVAPORATOR

## hvac pg 4
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| RTU-3 (KITCHEN) | RTU-3 (KITCHEN)
| DIRTY EVAPORATOR | CLEAN EVAPORATOR

## TRAP
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| RTU-1 (DINING) | RTU-1 (DINING)
| DRAIN PAN | P-TRAP
| RTU-2 (DINING) | RTU-2 (DINING)
| DRAIN PAN | P-TRAP
| RTU-3 (KITCHEN) | RTU-3 (KITCHEN)
| DRAIN PAN | P-TRAP

## cond
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| RTU-1 (DINING) | RTU-1 (DINING)
| DIRTY CONDENSER | CLEAN CONDNESER
| RTU-2 (DINING) | RTU-2 (DINING)
| DIRTY CONDENSER | CLEAN CONDNESER
| RTU-3 (KITCHEN) | RTU-3 (KITCHEN)
| DIRTY CONDENSER | CLEAN CONDNESER

## heat pg 1
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| RTU-1 (DINING) | RTU-1 (DINING)
| DIRTY HEATER SECTION | CLEAN HEATER SECTION
| RTU-2 (DINING) | RTU-2 (DINING)
| DIRTY HEATER SECTION | CLEAN HEATER SECTION
| RTU-3 (KITCHEN) | RTU-3 (KITCHEN)
| DIRTY HEATER SECTION | CLEAN HEATER SECTION

## heat pg 2
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| RTU-1 (DINING) | RTU-2 (DINING)
| BURNER TUBE INSPECTION | BURNER TUBE INSPECTION
RTU-3 (KITCHEN)
BURNER TUBE INSPECTION

## food pg 1
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| DXC-3 (MEAT COOLER 1) | DXC-3 (MEAT COOLER 1)
| DIRTY CONDENSER | CLEAN CONDENSER
| DXC-4 (MEAT COOLER 2) | DXC-4 (MEAT COOLER 2)
| DIRTY CONDENSER | CLEAN CONDNESER
| DXC-5 (PREP TABLE 1) | DXC-5 (PREP TABLE 1)
| DIRTY CONDENSER | CLEAN CONDNESER

## food pg 2
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| DXC-6 (PREP TABLE 2) | DXC-6 (PREP TABLE 2)
| DIRTY CONDENSER | CLEAN CONDNESER
| DXC-7 (FRYER FREEZER) | DXC-7 (FRYER FREEZER)
| DIRTY CONDENSER | CLEAN CONDNESER
| DXC-8 (SUNDAE PREP) | DXC-8 (SUNDAE PREP)
| DIRTY EVAPORATOR | CLEAN EVAPORATOR

## food pg 3
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| DXC-9 (TOPPINGS) | DXC-9 (TOPPINGS)
| DIRTY CONDENSER | CLEAN CONDENSER
| DXC-1 (WALK-IN COOLER) | DXC-1 (WALK-IN COOLER)
| DIRTY EVAPORATOR | CLEAN EVAPORATOR
| DXC-1 (WALK-IN COOLER) | DXC-1 (WALK-IN COOLER)
| DIRTY CONDENSER | CLEAN CONDENSER

## food pg 4
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| DXC-2 (WALK-IN FREEZER) | DXC-2 (WALK-IN FREEZER)
| DIRTY EVAPORATOR | CLEAN EVAPORATOR
| DXC-2 (WALK-IN FREEZER) | DXC-2 (WALK-IN FREEZER)
| DIRTY CONDENSER | CLEAN CONDENSER
| DXC-10 (BOH ICE MACHINE) | DXC-10 (BOH ICE MACHINE)
| DIRTY EVAPORATOR | CLEAN EVAPORATOR

## food pg 5
National TAB
FREDDY'S HCI - ROCK HILL, SC (3210) - RENEW # (#)
| DXC-10 (BOH ICE MACHINE) | DXC-10 (BOH ICE MACHINE)
| DIRTY CONDENSER | CLEAN CONDENSER
| DXC-11 (SODA ICE MACHINE) | DXC-11 (SODA ICE MACHINE)
| DIRTY EVAPORATOR | CLEAN EVAPORATOR
| DXC-11 (SODA ICE MACHINE) | DXC-11 (SODA ICE MACHINE)
| DIRTY CONDENSER | CLEAN CONDENSER