## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | CAFÉ SERV. | 3600 |  | 2700 | 0 | 900 |  | 25% | #DIV/0!
RTU-2 | CAFÉ SERV. | 4200 |  | 3200 | 0 | 1000 |  | 23.81% | #DIV/0!
RTU-3 | SALES | 4400 |  | 3300 | 0 | 1100 |  | 25% | #DIV/0!
RTU-4 | SALES | 4400 |  | 3300 | 0 | 1100 |  | 25% | #DIV/0!
RTU-5 | SALES | 4400 |  | 3300 | 0 | 1100 |  | 25% | #DIV/0!
RTU-6 | OFFICE/BRK | 960 |  | 810 | 0 | 150 |  | 15.62% | #DIV/0!
RTU-7 | SITOCK | 2400 |  | 2250 | 0 | 150 |  | 6.25% | #DIV/0!
RTU-8 | CAFÉ WRK. | 2100 |  | 2000 | 0 | 100 |  | 4.762% | #DIV/0!
EF-1 | ELEC. RM | [12 empty] | 750
EF-2 | REST RMS. | [12 empty] | 300
EF-3 | SERVER | [12 empty] | 500
EF-4 | CAFÉ | [12 empty] | 500
TOTALS |  | 26460 | 0 | 20860 | 0 | 5600 | 0 |  |  | 0 | 0 | 0 | 0 | 2050 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 5600 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 2050 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 3550 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0