## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-2 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-3 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-4 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-5 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-6 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-7 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-8 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-9 | VESTIBLE | 3000 |  | 2780 | 0 | 220 |  | 7.333% | #DIV/0!
RTU-10 | PHARMACY | 2000 |  | 1600 | 0 | 400 |  | 20% | #DIV/0!
RTU-11 | PICKUP | 1600 |  | 1200 | 0 | 400 |  | 25% | #DIV/0!
RTU-12 | BACKOFFICES | 2400 |  | 1920 | 0 | 480 |  | 20% | #DIV/0!
RTU-13 | DOCK | 4000 |  | 3200 | 0 | 800 |  | 20% | #DIV/0!
RTU-14 | BACKROOM | 2000 |  | 1760 | 0 | 240 |  | 12% | #DIV/0!
RTU-15 | BACKROOM | 2000 |  | 1760 | 0 | 240 |  | 12% | #DIV/0!
RTU-16 | BAKERY | 2000 |  | 1640 | 0 | 360 |  | 18% | #DIV/0!
RTU-17 | DELI | 3000 |  | 2250 | 0 | 750 |  | 25% | #DIV/0!
RTU-18 | SEATING/ STARBUCKS | 3000 |  | 2250 | 0 | 750 |  | 25% | #DIV/0!
DOAS1 | SALES OA | 3500 |  | 1295 | 0 | 2205 |  | 63% | #DIV/0!
DOAS2 | SALES OA | 3500 |  | 1295 | 0 | 2205 |  | 63% | #DIV/0!
EFK-1 | HOOD 1 | [10 empty] | 2400
EF-G1 | B109G OVEN | [10 empty] | 900
EF-G2 | B108G OVEN | [10 empty] | 900
EF-CC | CLEANING CENTER | [12 empty] | 600
EF-E1 | ELEC RM | [12 empty] | 800
EF-E2 | FRONT ELEC CLOSET | [12 empty] | 600
EF-R1 | CUSTOMER RR | [12 empty] | 550
EF-R2 | ASSOCIATE RR | [12 empty] | 400
EF-R3 | RX FAMILY RR | [12 empty] | 100
EF-S | SEAFOOD | [12 empty] | 800
TOTALS |  | 72000 | 0 | 62950 | 0 | 9050 | 0 |  |  | 0 | 0 | 4200 | 0 | 3850 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 9050 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 8050 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1000 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0