## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
DOAS-1 | SALES | 4205 |  | 0 | 0 | 4205 |  | 100% | #DIV/0!
DOAS-2 | SALES | 4205 |  | 0 | 0 | 4205 |  | 100% | #DIV/0!
RTU-1 | SALES | 3750 |  | 3750 | 0 | 0 |  | 0% | #DIV/0!
RTU-2 | SALES | 3000 |  | 3000 | 0 | 0 |  | 0% | #DIV/0!
RTU-3 | SALES | 3000 |  | 3000 | 0 | 0 |  | 0% | #DIV/0!
RTU-4 | SALES | 2950 |  | 2950 | 0 | 0 |  | 0% | #DIV/0!
RTU-5 | SALES | 3900 |  | 3900 | 0 | 0 |  | 0% | #DIV/0!
RTU-6 | SALES | 2900 |  | 2900 | 0 | 0 |  | 0% | #DIV/0!
RTU-7 | SALES | 3000 |  | 3000 | 0 | 0 |  | 0% | #DIV/0!
RTU-8 | SALES | 4700 |  | 4700 | 0 | 0 |  | 0% | #DIV/0!
RTU-9 | TLC | 1100 |  | 825 | 0 | 275 |  | 25% | #DIV/0!
RTU-10 | PHARMACY | 2000 |  | 1500 | 0 | 500 |  | 25% | #DIV/0!
RTU-11 | DELI | 2350 |  | 1880 | 0 | 470 |  | 20% | #DIV/0!
RTU-12 | BAKERY | 1600 |  | 1440 | 0 | 160 |  | 10% | #DIV/0!
RTU-13 | BACKROOM | 1600 |  | 1360 | 0 | 240 |  | 15% | #DIV/0!
RTU-14 | BACKROOM | 1600 |  | 1328 | 0 | 272 |  | 17% | #DIV/0!
RTU-15 | DOCK | 2400 |  | 1800 | 0 | 600 |  | 25% | #DIV/0!
RTU-16 | BACK OFFICES | 2450 |  | 1960 | 0 | 490 |  | 20% | #DIV/0!
RTU-17 | PICKUP | 2000 |  | 1640 | 0 | 360 |  | 18% | #DIV/0!
RTU-18 | CART CORRAL | 4700 |  | 4230 | 0 | 470 |  | 10% | #DIV/0!
RTU-19 | WINE & SPIRITS | 2400 |  | 1920 | 0 | 480 |  | 20% | #DIV/0!
EF-1 | CUSTOMER RRs | [12 empty] | 750
EF-2 | FAMILY 2 | [12 empty] | 400
EF-3 | EMPLOYEE RR | [12 empty] | 500
EF-4 | DELI HOOD | [10 empty] | 2400
EF-5 | FRONT ELECTRICAL | [12 empty] | 800
EF-6 | ELECTRICAL | [12 empty] | 800
EF-7 | SEAFOOD | [12 empty] | 700
EF-8 | CLEANING CENTER | [12 empty] | 200
EF-9 | BAKERY OVEN | [12 empty] | 600
EF-10 | BAKERY OVEN | [12 empty] | 600
TOTALS |  | 59810 | 0 | 47083 | 0 | 12727 | 0 |  |  | 0 | 0 | 2400 | 0 | 5350 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 12727 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 7750 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 4977 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0