## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | GENERAL SALES | 3570 |  | 3034 | 0 | 536 |  | 15.01% | #DIV/0!
RTU-2 | GENERAL SALES | 4200 |  | 3570 | 0 | 630 |  | 15% | #DIV/0!
RTU-3 | GENERAL SALES | 2730 |  | 2320 | 0 | 410 |  | 15.02% | #DIV/0!
RTU-4 | GENERAL SALES | 2100 |  | 1785 | 0 | 315 |  | 15% | #DIV/0!
RTU-5 | PHARMACY | 1680 |  | 1680 | 0 | 0 |  | 0% | #DIV/0!
RTU-6 | GENERAL STOCK | 1260 |  | 1071 | 0 | 189 |  | 15% | #DIV/0!
EF-1 | OFFICE | [12 empty] | 300
EF-2 | EMPLOYEE ROOM | [12 empty] | 300
EF-3 | MENS RR | [12 empty] | 250
EF-4 | WOMENS RR | [12 empty] | 250
EF-5 | PHOTO LAB | [12 empty] | 750
TOTALS |  | 15540 | 0 | 13460 | 0 | 2080 | 0 |  |  | 0 | 0 | 0 | 0 | 1850 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 2080 | 0 |  | FRONT | [10 empty] | TRUE | FALSE | FALSE
TOTAL EXHAUST |  | 1850 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | 1
NET AIRFLOW |  | 230 | 0 |  | REAR | [10 empty] | TRUE
[5 empty] | AVERAGE | [5 empty] | DESIGN PRESSURIZATION IS >10% I(OA - EXH) / EXH > 10% |  |  |  | 1
0
[11 empty] | ACTUAL PRESSURIZATION IS >10% I(OA - EXH) / EXH > 10% |  |  |  | 0
NOTES:
DESIGN NET PRESSURIZATION CALCULATION
12.43%