## SUMMARY (2)
AIR BALANCE SCHEDULE
| HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | 1900 |  | 1700 | 0 | 200 |  | 10.53% | #DIV/0!
RTU-2 | 22000 |  | 18700 | 0 | 3300 |  | 15% | #DIV/0!
RTU-3 | 3000 |  | 2750 | 0 | 250 |  | 8.333% | #DIV/0!
RTU-7 | 2800 |  | 2190 | 0 | 610 |  | 21.79% | #DIV/0!
EF-G | [10 empty] | 3500
EF-H | [10 empty] | 750
EF-L | [10 empty] | 1200
EF-M | [10 empty] | 266
EF-N | [10 empty] | 76
EF-J | [12 empty] | 200
EF-K | [12 empty] | 600
TOTALS | 29700 | 0 | 25340 | 0 | 4360 | 0 |  |  | 0 | 0 | 5792 | 0 | 800 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA | 4360 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST | 6592 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW | -2232 | 0 |  | REAR | [10 empty] | #DIV/0!
|  |  |  | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0