## FCU-2-3
National TAB
Project:
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-3 |  | Area: RECEPTION
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 600
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 190
[5 empty] | RA CFM | 410
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-3-1 | STORAGE | S1 |  | 60 |  |  | 0
2-3-2 | HALL | S1 |  | 60 |  |  | 0
2-3-3 | HALL | S1 |  | 60 |  |  | 0
2-3-4 | STORAGE | S1 |  | 60 |  |  | 0
2-3-5 | HALL | S2 |  | 60 |  |  | 0
2-3-6 | HALL | S1 |  | 60 |  |  | 0
2-3-7 | RECEPT | S2 |  | 85 |  |  | 0
2-3-8 | RECEPT | S2 |  | 85 |  |  | 0
2-3-9 | HALL | S1 |  | 60 |  |  | 0
|  |  |  | 590 |  | 0 | 0

## FCU-2-4
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-4 |  | Area: BOARD ROOM
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 740
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 215
[5 empty] | RA CFM | 525
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-4-1 | CLOSED COLLAB | S2 |  | 120 |  |  | 0
2-3-2 | CLOSED COLLAB | S2 |  | 120 |  |  | 0
2-3-3 | BOARD | S2 |  | 125 |  |  | 0
2-3-4 | BOARD | S2 |  | 125 |  |  | 0
2-3-5 | BOARD | S2 |  | 125 |  |  | 0
2-3-6 | BOARD | S2 |  | 125 |  |  | 0
|  |  |  | 740 |  | 0 | 0

## FCU-2-5
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-5 |  | Area: BOARD ROOM
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1400
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 80
[5 empty] | RA CFM | 1320
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-5-1 | CLOSED COLLAB | S2 |  | 200 |  |  | 0
2-5-2 | CLOSED COLLAB | S2 |  | 200 |  |  | 0
2-5-3 | BOARD | S2 |  | 200 |  |  | 0
2-5-4 | BOARD | S2 |  | 200 |  |  | 0
2-5-5 | BOARD | S2 |  | 200 |  |  | 0
2-5-6 | BOARD | S2 |  | 200 |  |  | 0
2-5-7 | BOARD | S2 |  | 200 |  |  | 0
|  |  |  | 1400 |  | 0 | 0

## FCU-2-6
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-6 |  | Area: FOCUS
Unit Data |  |  | Test Data
MFG | MITSUBISHI |  |  | Design | Actual
Model Num | TPEFYP |  | SA CFM | 880
Serial Num |  |  | Fan Speed
|  |  | OA CFM | 190
|  |  | RA CFM | 790
Motor Data |  |  | RL Voltage
Motor MFG |  |  | RL Amperage
Horsepower |  |  | Suction ESP
Motor Rpm |  |  | Discharge ESP
Phase | 1 |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)

## FCU-2-6 GRD
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-6-1 | FOCUS | S1 |  | 55 |  |  | 0
2-6-2 | FOCUS | S1 |  | 55 |  |  | 0
2-6-3 | COPY/PRINT | S1 |  | 140 |  |  | 0
2-6-4 | HALL | S1 |  | 60 |  |  | 0
2-6-5 | FOCUS | S1 |  | 55 |  |  | 0
2-6-6 | FOCUS | S1 |  | 55 |  |  | 0
2-6-7 | HALL | S2 |  | 60 |  |  | 0
2-6-8 | WELLNESS | S1 |  | 55 |  |  | 0
2-6-9 | CATER PREP | S1 |  | 75 |  |  | 0
2-6-10 | CATER PREP | S1 |  | 75 |  |  | 0
2-6-11 | MOTHERS | S1 |  | 80 |  |  | 0
2-6-12 | FOCUS | S1 |  | 55 |  |  | 0
2-6-13 | HALL | S2 |  | 60 |  |  | 0
|  |  |  | 880 |  | 0 | 0
Test Date:

## FCU-2-7
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-7 |  | Area: 12-14 CONF.
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 490
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 80
[5 empty] | RA CFM | 410
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-7-1 | 12-14 CONF | S2 |  | 120 |  |  | 0
2-7-2 | 12-14 CONF | S2 |  | 120 |  |  | 0
2-7-3 | 12-14 CONF | S2 |  | 125 |  |  | 0
2-7-4 | 12-14 CONF | S2 |  | 125 |  |  | 0
|  |  |  | 490 |  | 0 | 0

## FCU-2-8
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-8 |  | Area: 12-14 CONF.
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 600
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 80
[5 empty] | RA CFM | 520
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-8-1 | 12-14 CONF | S2 |  | 120 |  |  | 0
2-8-2 | 12-14 CONF | S2 |  | 120 |  |  | 0
2-8-3 | 12-14 CONF | S2 |  | 180 |  |  | 0
2-8-4 | 12-14 CONF | S2 |  | 180 |  |  | 0
|  |  |  | 600 |  | 0 | 0

## FCU-2-9
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-9 |  | Area: OPEN COLLAB
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1070
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 90
[5 empty] | RA CFM | 980
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-9-1 | OPEN COLLAB | S3 | 8X6 | 215 |  |  | 0
2-9-2 | OPEN COLLAB | S3 | 8X6 | 215 |  |  | 0
2-9-3 | OPEN COLLAB | S3 | 8X6 | 215 |  |  | 0
2-9-4 | OPEN COLLAB | S3 | 8X6 | 215 |  |  | 0
2-9-5 | OPEN COLLAB | S3 | 8X6 | 215 |  |  | 0
|  |  |  | 1075 |  | 0 | 0

## FCU-2-10
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-10 |  | Area: TEAM ROOM
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1070
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 190
[5 empty] | RA CFM | 880
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-10-1 | OPEN COLLAB | S1 |  | 170 |  |  | 0
2-10-2 | OPEN OFFICE | S1 |  | 170 |  |  | 0
2-10-3 | OPEN COLLAB | S1 |  | 170 |  |  | 0
2-10-4 | OPEN OFFICE | S1 |  | 170 |  |  | 0
2-10-5 | OPEN COLLAB | S1 |  | 170 |  |  | 0
2-10-6 | TEAM RM | S1 |  | 110 |  |  | 0
2-10-7 | TEAM RM | S1 |  | 110 |  |  | 0
|  |  |  | 1070 |  | 0 | 0

## FCU-2-11
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-11 |  | Area: OPEN COLLAB
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1265
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 135
[5 empty] | RA CFM | 1130
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-11-1 | OPEN COLLAB | S3 | 8X6 | 210 |  |  | 0
2-11-2 | OPEN COLLAB | S3 | 8X6 | 210 |  |  | 0
2-11-3 | OPEN COLLAB | S3 | 8X6 | 210 |  |  | 0
2-11-4 | OPEN COLLAB | S3 | 8X6 | 210 |  |  | 0
2-11-5 | OPEN COLLAB | S3 | 8X6 | 210 |  |  | 0
2-11-6 | OPEN COLLAB | S3 | 8X6 | 215 |  |  | 0
|  |  |  | 1265 |  | 0 | 0

## FCU-2-12
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-12 |  | Area: IT BUILD ROOM
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 265
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 40
[5 empty] | RA CFM | 225
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-12-1 | HALL | S1 |  | 60 |  |  | 0
2-12-2 | IT BUILD | S1 |  | 135 |  |  | 0
2-12-3 | IT STOR | S1 |  | 70 |  |  | 0
|  |  |  | 265 |  | 0 | 0

## FCU-2-13
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-13 |  | Area: FOCUS
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 490
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 100
[5 empty] | RA CFM | 390
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-13-1 | FOCUS | S1 |  | 50 |  |  | 0
2-13-2 | CPY/PRN | S1 |  | 110 |  |  | 0
2-13-3 | FOCUS | S1 |  | 50 |  |  | 0
2-13-4 | HALL | S1 |  | 50 |  |  | 0
2-13-5 | MAIL | S1 |  | 80 |  |  | 0
2-13-6 | IT |  |  | 150 |  |  | 0
|  |  |  | 490 |  | 0 | 0

## FCU-2-14A
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
FCU-2-14A |  | Area: CENTRAL HUB
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 875
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 200
[5 empty] | RA CFM | 675
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-14A-1 | CENT HUB | S2 |  | 175 |  |  | 0
2-14A-2 | CENT HUB | S2 |  | 175 |  |  | 0
2-14A-3 | CENT HUB | S2 |  | 175 |  |  | 0
2-14A-4 | CENT HUB | S2 |  | 175 |  |  | 0
2-14A-5 | CENT HUB | S2 |  | 175 |  |  | 0
|  |  |  | 875 |  | 0 | 0

## FCU-2-14B
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-14B |  | CENTRAL HUB
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1080
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 200
[5 empty] | RA CFM | 880
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-14B-1 | CENT HUB | S3 | 8X6 | 180 |  |  | 0
2-14B-2 | CENT HUB | S3 | 8X6 | 180 |  |  | 0
2-14B-3 | CENT HUB | S3 | 8X6 | 180 |  |  | 0
2-14B-4 | CENT HUB | S3 | 8X6 | 180 |  |  | 0
2-14B-5 | CENT HUB | S3 | 8X6 | 180 |  |  | 0
2-14B-6 | CENT HUB | S2 |  | 180 |  |  | 0
|  |  |  | 1080 |  | 0 | 0

## FCU-2-15
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-15 |  | Area: SEMI-OPEN COLLAB
Unit Data |  |  | Test Data
MFG | MITSUBISHI |  |  | Design | Actual
Model Num | TPEFYP |  | SA CFM | 1070
Serial Num |  |  | Fan Speed
|  |  | OA CFM | 290
|  |  | RA CFM | 780
Motor Data |  |  | RL Voltage
Motor MFG |  |  | RL Amperage
Horsepower |  |  | Suction ESP
Motor Rpm |  |  | Discharge ESP
Phase | 1 |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)

## FCU-2-15 GRD
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-15-1 | SEMI OPEN COLLAB | S2 |  | 80 |  |  | 0
2-15-2 | SEMI OPEN COLLAB | S2 |  | 80 |  |  | 0
2-15-3 | TEAM RM | S1 |  | 175 |  |  | 0
2-15-4 | TEAM RM | S1 |  | 175 |  |  | 0
2-15-5 | HALL | S1 |  | 50 |  |  | 0
2-15-6 | HALL | S1 |  | 50 |  |  | 0
2-15-7 | TEAM RM | S1 |  | 150 |  |  | 0
2-15-8 | TEAM RM | S1 |  | 150 |  |  | 0
2-15-9 | SEMI OPEN COLLAB | S2 |  | 80 |  |  | 0
2-15-10 | SEMI OPEN COLLAB | S2 |  | 80 |  |  | 0
|  |  |  | 1070 |  | 0 | 0

## FCU-2-16
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-16 |  | Area: OPEN OFFICE
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1080
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 160
[5 empty] | RA CFM | 920
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-16-1 | OPEN OFC | S1 |  | 180 |  |  | 0
2-16-2 | OPEN OFC | S1 |  | 180 |  |  | 0
2-16-3 | OPEN OFC | S1 |  | 180 |  |  | 0
2-16-4 | OPEN OFC | S1 |  | 180 |  |  | 0
2-16-5 | OPEN OFC | S1 |  | 180 |  |  | 0
2-16-6 | OPEN OFC | S1 |  | 180 |  |  | 0
|  |  |  | 1080 |  | 0 | 0

## FCU-2-17
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-17 |  | Area: OPEN OFFICE
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1075
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 85
[5 empty] | RA CFM | 990
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-17-1 | OPEN OFC | S3 | 8X6 | 215 |  |  | 0
2-17-2 | OPEN OFC | S3 | 8X6 | 215 |  |  | 0
2-17-3 | OPEN OFC | S3 | 8X6 | 215 |  |  | 0
2-17-4 | OPEN OFC | S3 | 8X6 | 215 |  |  | 0
2-17-5 | OPEN OFC | S3 | 8X6 | 215 |  |  | 0
|  |  |  | 1075 |  | 0 | 0

## FCU-2-18
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-18 |  | Area: LARGE OFFICE
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 300
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 40
[5 empty] | RA CFM | 260
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-18-1 | LG OFC | S2 |  | 215 |  |  | 0
2-18-2 | LG OFC | S1 |  | 85 |  |  | 0
|  |  |  | 300 |  | 0 | 0

## FCU-2-19
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-19 |  | Area: TEAM ROOM
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 600
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 150
[5 empty] | RA CFM | 450
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-19-1 | TEAM RM | S1 |  | 100 |  |  | 0
2-19-2 | MD OFC | S1 |  | 125 |  |  | 0
2-19-3 | MD OFC | S1 |  | 125 |  |  | 0
2-19-4 | MD OFC | S1 |  | 125 |  |  | 0
2-19-5 | MD OFC | S1 |  | 125 |  |  | 0
|  |  |  | 600 |  | 0 | 0

## FCU-2-20
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: |  | Area:
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 300
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 70
[5 empty] | RA CFM | 230
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-20-1 | SEMI-OPEN COLLAB | S2 |  | 125 |  |  | 0
2-20-2 | FOCUS | S1 |  | 75 |  |  | 0
2-20-3 | TEAM RM | S1 |  | 100 |  |  | 0
|  |  |  | 300 |  | 0 | 0

## FCU-2-21
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-21 |  | Area: TRAINING
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 880
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 170
[5 empty] | RA CFM | 710
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-21-1 | TRAINING | S1 |  | 125 |  |  | 0
2-21-2 | TRAINING | S1 |  | 125 |  |  | 0
2-21-3 | TRAINING | S2 |  | 210 |  |  | 0
2-21-4 | TRAINING | S2 |  | 210 |  |  | 0
2-21-5 | TRAINING | S2 |  | 210 |  |  | 0
|  |  |  | 880 |  | 0 | 0

## FCU-2-22
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-22 |  | Area: MD OFFICE
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 880
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 100
[5 empty] | RA CFM | 780
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-22-1 | HALL | S2 |  | 250 |  |  | 0
2-22-2 | MD OFC | S2 |  | 210 |  |  | 0
2-22-3 | MD OFC | S2 |  | 210 |  |  | 0
2-22-4 | MD OFC | S2 |  | 210 |  |  | 0
|  |  |  | 880 |  | 0 | 0

## FCU-2-23
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-23 |  | Area: LG OFFICE
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1050
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 90
[5 empty] | RA CFM | 960
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-23-1 | OPEN COLLAB | S2 |  | 210 |  |  | 0
2-23-2 | OPEN COLLAB | S2 |  | 210 |  |  | 0
2-23-3 | LG OFC | S2 |  | 210 |  |  | 0
2-23-4 | LG OFC | S2 |  | 210 |  |  | 0
2-23-5 | LG OFC | S2 |  | 210 |  |  | 0
|  |  |  | 1050 |  | 0 | 0

## FCU-2-24
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-24 |  | Area: 12-14 CONF
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1050
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 95
[5 empty] | RA CFM | 955
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-24-1 | CONF | S2 |  | 210 |  |  | 0
2-24-2 | CONF | S2 |  | 210 |  |  | 0
2-24-3 | CONF | S2 |  | 210 |  |  | 0
2-24-4 | CONF | S2 |  | 210 |  |  | 0
2-24-5 | CONF | S2 |  | 210 |  |  | 0
|  |  |  | 1050 |  | 0 | 0

## FCU-2-25A
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-25A |  | OPEN OFFICE
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1060
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 180
[5 empty] | RA CFM | 880
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-25A-1 | OPEN OFC | S1 |  | 265 |  |  | 0
2-25A-2 | OPEN OFC | S1 |  | 265 |  |  | 0
2-25A-3 | OPEN OFC | S1 |  | 265 |  |  | 0
2-25A-4 | OPEN OFC | S1 |  | 265 |  |  | 0
|  |  |  | 1060 |  | 0 | 0

## FCU-2-25B
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: FCU-2-25B |  | Area: OPEN OFFICE
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 1060
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 180
[5 empty] | RA CFM | 880
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-25B-1 | OPEN OFC | S1 |  | 265 |  |  | 0
2-25B-2 | OPEN OFC | S1 |  | 265 |  |  | 0
2-25B-3 | OPEN OFC | S1 |  | 265 |  |  | 0
2-25B-4 | OPEN OFC | S1 |  | 265 |  |  | 0
|  |  |  | 1060 |  | 0 | 0

## FCU-2-26
National TAB
Project: CW 3501 - BLACKHAWK
Address: 3501 OLYMPUS BLVD STE 200 COPPELL, TX
Asset: |  | Area:
Unit Data |  |  |  |  | Test Data
MFG | MITSUBISHI |  |  |  |  | Design | Actual
Model Num | TPEFYP |  |  |  | SA CFM | 490
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 40
[5 empty] | RA CFM | 450
Motor Data |  |  |  |  | RL Voltage
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP | 0.25
Voltage (rated) | 208
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
2-26-1 | OPEN OFC | S1 |  | 140 |  |  | 0
2-26-2 | OPEN OFC | S1 |  | 140 |  |  | 0
2-26-3 | OPEN OFC | S2 |  | 210 |  |  | 0
|  |  |  | 490 |  | 0 | 0
R2-26-1 | OPEN OFC | R2 | 14X8 | 490 |  |  | 0
|  |  |  | 490 |  | 0 | 0

## EF-2-1
National TAB
Project:
System/Unit: Exhaust Fan
Asset: EF-2-1 | Area: IT ROOM
Unit Data |  | Test Data
MFG | GREENHECK |  | Design | Actual
Model Num | SP-A390 | CFM | 270
Serial Num |  | Fan RPM | 1070
RL Voltage
RL Amperage
Motor Data |  | Suction ESP
Motor MFG |  | Total ESP | 0.25
Frame
Horsepower | 135W
Motor Rpm
Phase | 1
Voltage (rated) | 115
Amperage (rated)
Service Factor
-