## SUMMARY (2)
AIR BALANCE SCHEDULE
| HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | 8000 |  | 5700 |  | 2300 |  | 28.75% | #DIV/0!
RTU-2 | 6000 |  | 4500 |  | 1500 |  | 25% | #DIV/0!
RTU-3 | 6000 |  | 4500 |  | 1500 |  | 25% | #DIV/0!
RTU-4 | 6000 |  | 4500 |  | 1500 |  | 25% | #DIV/0!
SF-1 | [8 empty] | 6000
SF-2 | [8 empty] | 3450
EF1 | [10 empty] | 3940
EF2 | [10 empty] | 3700
EF3 | [10 empty] | 3130
EF4 | [10 empty] | 800
EF8 | [10 empty] | 3130
EF5 | [12 empty] | 600
EF6 | [12 empty] | 600
EF7 | [12 empty] | 75
TOTALS | 26000 | 0 | 19200 | 0 | 6800 | 0 |  |  | 9450 | 0 | 14700 | 0 | 600 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA | 16250 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST | 15300 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW | 950 | 0 |  | REAR | [10 empty] | #DIV/0!
|  |  |  | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0