## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | DELI | 2000 |  | 1900 | 0 | 100 |  | 5% | #DIV/0!
RTU-2 | FRONT END | 2000 |  | 1680 | 0 | 320 |  | 16% | #DIV/0!
RTU-3 | NEW BACKROOM | 2400 |  | 1800 | 0 | 600 |  | 25% | #DIV/0!
RTU-4 | PHARMACY | 2000 |  | 1600 | 0 | 400 |  | 20% | #DIV/0!
RTU-5 | TLC | 1100 |  | 935 | 0 | 165 |  | 15% | #DIV/0!
RTU-6 | PICKUP | 1200 |  | 1031 | 0 | 169 |  | 14.08% | #DIV/0!
RTU-7 | NEW SALES | 5000 |  | 3750 | 0 | 1250 |  | 25% | #DIV/0!
RTU-8 | NEW SALES | 5000 |  | 3750 | 0 | 1250 |  | 25% | #DIV/0!
RTU-9 | OFFICE MEZZ | 1000 |  | 800 | 0 | 200 |  | 20% | #DIV/0!
EF-K | DELI HOOD | [10 empty] | 2700
EF-R1 | CUSTOMER RESTROOM | [12 empty] | 600
EF-R2 | TLC RESTROOM | [12 empty] | 150
EF-R3 | REAR RESTROOM | [12 empty] | 600
EF-S | SEAFOOD PREP | [12 empty] | 700
TOTALS |  | 21700 | 0 | 17246 | 0 | 4454 | 0 |  |  | 0 | 0 | 2700 | 0 | 2050 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 4454 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 4750 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -296 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0